# Barlow Water Improvement District

System Report

For August 2023

#### August 2023 Water Pumped - Physical readings taken on 08/31/23 (from 07/27/23).

#### Well #2 –  Not in operation during this period

Well #4 –   1,412,850 gallons – 174.80 hrs – 135 gpm

Well #6 – 10,492,172 gallons – 721.30 hrs – 242 gpm

Well #7 –      114,281 gallons -      8.30 hrs -  229 gpm

Total  -    12,019,303 gallons –  904.40 hrs

Average daily use – 343,408.65 gallons (35 days)

- Energy Cost August 2023 – $3,329.91 – total KWH 28,799. Total demand charges - $714.63 (well #4 & #6-$479.51, well #7-$235.12).

Average daily use August 2022 – 373,936.82 gallons (28 days)

Energy Cost August 2022 - $3,559.84 – total KWH 31,348. Total demand charges- $699.73:  $464.13 (well #4 & #6) and $235.60 (well #7).