# Barlow Water Improvement District

System Report

For October 12, 2024 Board Meeting

#### September 2024 Water Pumped - Physical readings taken on 10/03/2024.

#### Well #2 – NOT IN OPERATION

Well #4 – 297,020 gallons – 36.9 hrs – 129 gpm

Well #6 – 2,947,164 gallons – 547.3 hrs – 90 gpm

Well #7-   NOT IN OPERATION

Total  -    3,244,184 gallons –  284.2 hrs

Average daily use – 108,139 gallons (30 days)

- Energy Cost September 2024 – $2290.24 – total KWH 26,208 Total demand charges - $470.15 – Well #6 (30 days)

*Total use September 2023 – 5,980,137 (30 Days)

**AUGUST 2024**

Wasco Electric - $3107.19

KWH – 39,655

Demand charge - $704.19 (Well#4 $469.67 and Well 7 $ 235.22)

Energy Cost September 2023 $2609.55 total KWH 20,505.

Total demand charges September 2023- $676.04:(well #4 & #6 $479.79) and (well #7 $196.25)