Barlow Water Improvement District 

System Report

For September 19, 2025 Board Meeting
August 2025 Water Pumped - Physical readings taken on 08.28.2025
Well #2 – NOT IN OPERATION
              Well #4 – 3245.70 gallons - .40 hrs – 135 gpm

    Well #6 – 5,148,252 gallons – 351.7 hrs – 243.9gpm
              Well #7-   4,485,010 gallons – 353.4 hrs – 211gpm
              Total   9636505.70 – 705.5 hrs
    Average daily use – 344,160.9 (28 Days)
Energy Cost August 2025 – $3639.80 – | KWH 30821 | Total demand charge $717.95 Well # 6 $474.22 and Well #7 $243.43
Energy Cost August 2024 - $3107.19 | KHW 26208 | Total demand charge $704.89  

Well#6 - $469.67 Well #7 $235.22
