# Barlow Water Improvement District

System Report

For September 2023

#### September 2023 Water Pumped - Physical readings taken on 09/28/23 (from 08/31/23).

#### Well #2 –  Not in operation during this period

Well #4 –        78,418 gallons –     9.70 hrs – 135 gpm

Well #6 –   5,898,460 gallons – 403.80 hrs – 243 gpm

Well #7 –          3,259 gallons -        .30 hrs -  181 gpm

Total  -     5,980,137  gallons –  413.80 hrs

Average daily use – 221,486.55 gallons (27 days)

- Energy Cost September 2023 – $2,609.55 – total KWH 20,505. Total demand charges - $676.04 (well #4 & #6-$479.79, well #7-$196.25).

Average daily use September 2022 – 273,923.60 gallons (35 days)

Energy Cost September 2022 - $2,872.33 – total KWH 23,123. Total demand charges- $702.31:  $466.23 (well #4 & #6) and $236.08 (well #7).