# Barlow Water Improvement District

System Report

For May 11, 2024 Board Meeting

#### April 2024 Water Pumped - Physical readings taken on 04/25/24 (from 03/28/2024).

#### Well #2 – 2709 gallons - .8 hrs – 56 gmp

Well #4 – 1,536,879 gallons – 187.4 hrs – 136 gpm

Well #6 -  333,037 gallons –  22.4 hrs – 247 gpm

Well #7-   25,051 gallons – 1.8 hrs – 231 gpm

Total  -     1,897,676 gallons –  212.4 hrs

Average daily use – 70,284 gallons (27 days)

- Energy Cost April 2024 – $1755.69 – total KWH 9468 Total demand charges - $729.43 (well #6 & #7). (32 Days). (Credit will be issues for well #7 for 238.18)

Average daily use April 2023 – 54750.28 gallons (28 days)

Energy Cost April 2023 - $1557.48 – total KWH 9947.

Total demand charges 2023- $491.83 (well #4).