# Barlow Water Improvement District

System Report

For August 10, 2024 Board Meeting

#### July 2024 Water Pumped - Physical readings taken on 07/25/2024.

#### Well #2 – 369,829 gallons – 135.7 hours – 45 gpm

Well #4 – 2,604,783 gallons – 323.50 hrs – 134 gpm

Well #6 – 1,268,133 gallons – 602.1 hrs – 35 gpm

Well #7-   671,918 gallons – 50 hrs – 124 gpm

Total  -    4,914,663 gallons –  970.80 hrs

Average daily use – 158,537.51 gallons (31 days)

- Energy Cost July 2024 – $4306.97 – total KWH 24613 Total demand charges - $799.33

- (28 days)

Average daily use June 2023 – 300082.80 gallons (35 days)

Energy Cost June 2023 - $2982.10 – total KWH 27148.

Total demand charges 2023- 502.52 (well #6).