# Barlow Water Improvement District

System Report

For April 13, 2024 Board Meeting

#### March 2024 Water Pumped - Physical readings taken on 03/28/2024 (from 02/29/2024).

#### Well #2 – Not in operation during this period

Well #4 – Not in operation during this period

Well #6 -  1,475,503 gallons –  100.32 hrs – 245 gpm

Well #7-   Not in operation during this period

Total  -     1,475,503 gallons –  100.32 hrs

Average daily use – 50,879 gallons (29 days)

- Energy Cost March 2024 – $1224.28 – total KWH 9342. Total demand charges - $497.80 (well #6 & #7). (29 Days)

Average daily use March 2023 – 59,797 gallons (35 days)

Energy Cost March 2023 - $1308.73 – total KWH 10023.

Total demand charges- $237.80 (well #4).