# Barlow Water Improvement District

System Report

For January 2024

#### December 2023 Water Pumped - Physical readings taken on 12/28/23 (from 11/30/23).

#### Well #2 –  Not in operation during this period

Well #4 –   1,476,238 gallons – 167.50 hrs – 147 gpm

Well #6 -   Not in operation during this period

Well #7 –       55,500 gallons – 3.90 hrs – 237 gpm

Total  -       1,531,738 gallons – 171.40 hrs

Average daily use – 54,704.92 gallons (28 days)

- Energy Cost December 2023 – $1,167.43 – total KWH 9,274. Total demand charges - $157.10 (well #4 & #6).

Average daily use December 2022 – 54,017.57 gallons (35 days)

Energy Cost December 2022 - $1,409.14 – total KWH 12,036. Total demand charges- $169.32 (well #4).