# Barlow Water Improvement District

System Report

For June 8, 2024 Board Meeting

#### May 2024 Water Pumped - Physical readings taken on 05/30/24 (from 04/25/2024).

#### Well #2 – Not in Operation

Well #4 – 5,412,356 gallons – 558.84 hrs – 161 gpm

Well #6 - 533,759 gallons – 36.70 hrs – 242 gpm

Well #7-   Not in Operation

Total  -    59461.15 gallons –  403 hrs

Average daily use – 1698.89 gallons (35 days)

- Energy Cost May 2024 – $1910.25 – total KWH 13329 Total demand charges - $729.43 (well #6 & #7). (Credit issued for well #7 for 238.18 leaving a credit of $160.23)

Average daily use May 2023 – 83,533.78 gallons (28 days)

Energy Cost May 2023 - $1866.64 – total KWH 13893.

Total demand charges 2023- $476.64 (well #6).