# Barlow Water Improvement District

System Report

For January 11, 2025 Board Meeting

#### December 2024 Water Pumped - Physical readings taken on 12/31/2024.

#### Well #2 – NOT IN OPERATION

Well #4 – NOT IN OPERATION

Well #6 – 1,769,201 gallons – 163.50hrs – 180 gpm

Well #7-   NOT IN OPERATION

Total  -    1,769,201gallons –  163.50 hrs

Average daily use – 63,186 gallons (28 days)

- Energy Cost December 2024 – $1446.21 – total KWH 9244 Total demand charges - $298.53 – Well #6 (28 days)

Energy Cost December 2023 - $1065.48 |KHW 10412