# Barlow Water Improvement District

System Report

For March 8, 2025 Board Meeting

#### February 2025 Water Pumped - Physical readings taken on 02/27/2025.

#### Well #2 – NOT IN OPERATION

Well #4 – NOT IN OPERATION

Well #6 – 1,796,636 gallons – 245hrs – 122 gpm

Well #7-   NOT IN OPERATION

Total  -    1,796,636gallons –  245 hrs

Average daily use – 64,165 gallons (28 days)

- Energy Cost February 2025 – $1552.27 – total KWH 10945 Total demand charges - $298.53 – Well #6 (28 days)

Energy Cost February 2024 - $1354.42  | KHW 8708